### Substation Busbar Arrangements

The form of busbar layout selected for any application must depend on the flexibility of operation required, and the price the user is prepared to pay for this flexibility of operation as regards maintenance and continuity of supply.

Busbar arrangement may be classified as:

- Single busbar systems

- Sectionalised busbar systems

- Ring busbar systems

- Duplicate busbar systems

- Duplicate ring busbar systems

- The most common systems are shown below in single line form for three phase systems. It is important in all systems to be able to isolate circuit breakers and transformers so that maintenance can be carried out. Means must be provided for isolators for circuit breakers, and earthing switches for the earthing of high voltage equipment during maintenance.